## Slide 1
The Global Non-Revenue Water Issue: how reducing nrw can help the world mitigate and adapt to climate change

## Slide 2: How much water is lost from all urban distribution systems?
346,000,000,000 litres per day
Enough to supply 2 billion people
Source:
Quantifying the global non-revenue water problem
R. Liemberger and A. Wyatt, IWA Publishing 2019

## Slide 3: The annual cost/value of these water losses:
USD 39 billion
Source:
Quantifying the global non-revenue water problem
R. Liemberger and A. Wyatt, IWA Publishing 2019

## Slide 4: ESTIMATED GLOBAL CARBON EMISSIONS FROM TOTAL NRW
  187.2 million metric tonnes CO2 / year
  513 thousand metric tonnes CO2 / day
  0.6% of global CO2 emissions
  Global CO2 emissions
  1.9% from Aviation
  1.7% from Shipping

## Slide 5: Annual cost/value of NRW (billion USD)
Chart: 
| Australia and New Zealand | Caucasus and Central Asia | Russia, Ukraine, Belarus | Sub-Saharan Africa | Southeast Asia | Europe | Middle East and Northern Africa | USA and Canada | South Asia | East Asia | Latin America and the Caribbean
Column3 | 0.1 | 0.8 | 1.1 | 1.4 | 2 | 3.4 | 4.8 | 5.7 | 6 | 6.2 | 8
Source:
Quantifying the global non-revenue water problem, R. Liemberger and A. Wyatt, IWA Publishing 2019

## Slide 6: Where are your losses
Do you have real losses or apparent losses?
Apparent losses / Commercial are your next source of income
  Customer census
  Meter installation/replacement program
Real losses / Physical Losses are your next source of water
  Produce a plan using the 4 IWA pillars for real loss reduction
    Active Leakage Control (leak detection)
    Pressure management
    Speed and quality of repairs
    Rehabilitation / infrastructure renewal

## Slide 7: NRW Reduction Strategy Apparent / Commercial Losses
Existing Commercial Losses
Economic target for Commercial Losses
Water account errors
Meter under registration
Water theft
Meter errors
Apparent / Commercial Losses
Notes: Source: Farley, M (2008) The Manager’s Non-Revenue Water Handbook - A Guide to Understanding Water Losses

## Slide 8: NRW Reduction Strategy Real / Physical Losses
Potentially recoverable
Physical Losses
Speed and quality of repairs
Active leakage control
Asset management
Pressure management
Economic level of Real Losses
Unavoidable Annual Real Losses
Current Real / Physical Losses
or
Leakages
Notes: Source: Farley, M (2008) The Manager’s Non-Revenue Water Handbook - A Guide to Understanding Water Losses

## Slide 9: Leakage Emissions
Leakage Emissions are greenhouse gasses that are emitted as a result of Real Losses occurring in the network.
Leakage Emissions are traceable and measurable.

## Slide 10: How do we reduce Leakage Emissions
We already know how…………….. By reducing Real Losses!
When we reduce Real Loss, we are reducing the amount of energy and resources used in our water supply chain for water that is ultimately wasted.

## Slide 11: How do we reduce Leakage Emissions
Where do we use energy in that supply chain?
  Water Acquisition (Abstraction)
  Water Treatment
  Water Transportation (Pumping)
  Reactive Repairs
  Leak Location

## Slide 12: GLOBAL LEAKAGE RECOVERY
  Global NRW – 126 billion m3/year
  On average it has been found that 70% of NRW are Real Losses – 88 billion m3/year.
  These losses have a Carbon Footprint and are being produced and lost and are Carbon recoverable.
  Apparent losses is estimated at 30% of NRW, 38 billion m3/year, however not all of this can be accounted as carbon recoverable as some items of this water will be sold.
This Photo by Unknown Author is licensed under CC BY-SA-NC

## Slide 13: Estimated global water production per source
Basic Water Source - no pumping and minimum chemicals | Traditional Water Systems – combination of pumping / treatment / chemicals | Desalination Sea Water Reverse Osmosis (Average) | Desalination Sea Water Reverse Osmosis (high) and plants run by fuel oil
10% | 60% | 20% | 10%

## Slide 14: CO2 in grams per m3 of water per water production source
Basic Water Source - no pumping and minimum chemicals | Traditional Water Systems – combination of pumping / treatment / chemicals | Desalination Sea Water Reverse Osmosis (Average) | Desalination Sea Water Reverse Osmosis (high) and plants run by fuel oil
30 g/m3 | 298 g/m3 | 3,170 g/m3 | 6,700 g/m3

## Slide 15: Global CO2 emission savings from leakage reduction This equates to 0.4% of global CO2 emissions
CO2 SAVINGS METRIC TONS / YEAR |  |  |  | 
Basic Water Source | Traditional Water System | Desalinated Sea Water – Reverse Osmosis | Desalinated Sea Water – RO using Fuel Oil | TOTAL
264,600 | 15,770,160 | 55,918,800 | 59,094,000 | 131,047,560

## Slide 16: So…. what does this look like ?
CO2 OVERVIEW PER WATER SOURCE PER YEAR |  |  |  | 
Basic Water Source | Traditional Water System | Desalinated Sea Water – Reverse Osmosis | Desalinated Sea Water – RO using Fuel Oil | TOTAL
264,600 | 15,770,160 | 55,918,800 | 59,094,000 | tons per year
10% | 60% | 20% | 10% | % water source
30 g/m3 | 298 g/m3 | 3,170 g/m3 | 6,700 g/m3 | CO2 g/m3
0.21% | 12.03% | 42.67% | 45.09% | % of CO2

## Slide 17
Carbon emissions from leakages alone is equivalent to:
A plane annually circumnavigating the earth 52,419 times
Or
To offset the footprint annually planting 218.4 million hectares of trees – equivalent in size to a quarter of Brazil, the fifth largest country in the world.
To offset the Carbon Emissions from Leakage only, if no action is taken and leakage remains the same, the whole of the Earth’s land area will be planted with trees over the next 64 years.

## Slide 18: where it all started Paris agreement 2015
  At COP 21 in Paris, on 12 December 2015, Parties to the UNFCCC being nearly 200 countries reached a landmark agreement to combat climate change and to accelerate and intensify the actions and investments needed for a sustainable low carbon future.
  It also prescribes that Parties shall communicate their NDCs (plans) every 5 years and provide information necessary for clarity and transparency. To set a firm foundation for higher ambition, each successive NDC will represent a progression beyond the previous one and reflect the highest possible ambition.
  Main goals are
  Limit temperature rise 'well below' 2 C.
  First universal climate agreement.
  Helping poorer nations.
  Publishing greenhouse gas reduction targets.
  Carbon neutral by 2050.

## Slide 19: NRW Reduction Strategy – Real Losses
Potentially recoverable
Physical Losses
Speed and quality of repairs
Active leakage control
Asset management
Pressure management
Economic level of Real Losses
Unavoidable Annual Real Losses
Current Real Losses
Notes: Source: Farley, M (2008) The Manager’s Non-Revenue Water Handbook - A Guide to Understanding Water Losses

## Slide 20: How does the carbon footprint reflect in decision making when planning the repair or reducing real losses?

## Slide 21: Active leakage control factors affecting Carbon
Listening on each stop tap
Must get to and from site
Don’t know if any leaks present in the region surveyed
Low footprint if area is surveyed by foot
Lift and shift of noise loggers
Movement of staff in vehicles doing lift and shift and follow up Active Leakage Control activities
Don’t know if any leaks present in the region surveyed
Permanent installed equipment
Once installed only go to alarms – reduced unnecessary vehicle usage
Satellite leakage
Only go to areas of Interest – reduced unnecessary vehicle usage

## Slide 22: Asset Management factors affecting Carbon
Method of pipe installation
Open-cut
Bored / pipe-bursting
Ground type
Concrete / tarmac
Sand / grass
Material used
Metallic
Non-metallic
Life expectancy 30 - 60 years
Service pipe
Material
Renew or use existing

## Slide 23: Pressure Management factors affecting Carbon
Installation of PRV and servicing valves
Single time installation
Type of pressure management
Chose right type of installation for best results
Lowest cost on carbons once installed
Reduces losses without needing to visit site
Controlled remotely and serviced annually

## Slide 24: Speed and quality of repairs factors affecting Carbon
Repair or replace
Repair quality
Quality of fittings used
Run time of leak

## Slide 25: Other factors to consider
How is electricity produced
    Fuel Oil
    Renewable – Wind / Solar / Geothermal
    Natural Gas
    Coal
    Nuclear
Increase in cost of fossil fuel
Resilience to catastrophic failure
    Can you get fuel oil onto the island
    Storage capacity for fuel oil
Storage capacity of water
    How long can you survive with high NRW
    Reducing Real Losses can help countries adapt to impacts of climate change

## Slide 26: How can I become Carbon Neutral by 2050?
  Carbon footprint must be reduced
  Increase shift away from fossil fuel
  Extra storage facility
  Ability to survive a catastrophic failure
  Resilience insurance needs
  Look at the bigger picture
  What is your biggest usage of Carbon?

## Slide 27: reducing NRW will help your utilities become carbon Neutral by 2050
Matching the carbon footprint of NRW can unlock many climate financing options
Climate funding options are widely available and currently not being used to reduce NRW
This is a widely untapped source and Govt., by necessity, must look at reducing carbon emissions
Sources of finance include
    Green Climate Fund
    IFI funding
    Commercial banks
    Private operator

## Slide 28: How are you going to make a difference
  There is untapped financing potential that just requires the will from the country and utility, and now there is a commitment to abide to the Paris agreement
  Common sense is now a priority, and NRW reduction is a no-regret approach
  Begin changing the way we live for not only ourselves but our children and grandchildren – we can do our bit to help correct mistakes made in the past
  We cannot change the world, but we can change a small part of it and reduce NRW and carbon emissions
  Where will you be on this journey:
      A leader?
      or
      A follower?

## Slide 29
http://wacclim.org/ecam/
https://wacclim.org/

## Slide 30: How Microsoft & Miya can get involved
No islands in the Caribbean have completed a Water / Carbon Balance
Microsoft grants a fund allowing Miya to deliver capacity building and completion of the Water and Carbon balance
Concentrate on 5 smaller islands and 2 larger islands to complete the surveys
Deliver findings in worldwide conferences via presentations
Investment from Microsoft via grant would be $1m USD
Benefits to islands that they will know where the problems are and a program to rectify issues will be developed
Capacity buildings allowing islands to complete annual balances to understand their successes
Allowance to take finding to IFI’s allowing potential funding to rectify the problems
Climate change through NRW reduction is key and beneficial to the world

## Slide 32: Thank you Stuart Hamilton Bambos Charalambous
stuart.hamilton@miya-water.com
bcharalambous@cytanet.com.cy
Acknowledgements:
Sara-Jade Govia sarajade.govia@gmail.com
Nils Janson njanson@km-advisorsllc.com
Lindsay Burkhard lburkhard@km-advisorsllc.com
John Ikeda john.ikeda@castalia-advisors.com